## 0_SurveyList
Items | Assessment |  |  |  |  | Observations/comments
| N/A | Zero | Low | Ave | High
Hazards
1.1.1 Heavy weapons Likelihood ratings: Zero – Not applicable to this situation. Low - unlikely to happen and no nearby or past events to consider, even if the use of heavy weapons was reported. Average - there are nearby hotspots. Areas nearby have seen the use of heavy weaponry. Past events show this is possible. High - currently in a conflict area whereby there is a use of heavy weaponry. Nearby events or past events clearly show this is a likely situation. |  | 0% | 100% | 200% | 300%
1.1.2 Intrusions and attacks Likelihood ratings: Zero – Not applicable to this situation. Low - unlikely to happen and no nearby or past events to consider. Average - Areas nearby have seen such events. Past events show this is possible. High - currently witnessing such issues. Nearby events or past events clearly show this is a likely situation. |  | 0% | 100% | 200% | 300%
1.1.3 Mass influx of persons Likelihood ratings: Zero – Not applicable to this situation. Low - unlikely to happen and no nearby or past events to consider. Average - Areas nearby have seen such events. Past events show this is possible. High - currently witnessing such issues. Nearby events or past events clearly show this is a likely situation. |  | 0% | 100% | 200% | 300%
External Exposure
1.2.1. Conditions of External Infrastructure Likelihood ratings: N/A – Not applicable to this situation. Low - Basic services (power, water, and others) provided to the facility frequently shut down and their quality is below acceptable standards. (I.e. water is not used by local for drinking purpose). Reparations are erratic and not reliable. Average = Basic services are reliable and do not breakdown often. Quality of some standards are not trusted (i.e. water is not used by locals for drinking purposes). Basic response when services are disrupted. High - The basic provision of services is continuous and of good quality. In case of breakdown reparations are provided in reasonable delays and interruption of the service are preemptively communicated. | 1000% |  | 100% | 200% | 300%
Confidence Evaluation
1.3.1 Confidence in hazard identification Confidence ratings: Zero – No information was available Low - Information is limited in quantity and quality, with very few reliable sources and little or no corroboration. Average - Information is based on a couple of reliable sources, is generally felt to be accurate and there is some corroboration across sources. High - Information is of high quality, obtained from several reliable sources and is generally corroborated. |  | 0% | 100% | 200% | 300%
Prepardness
2.1.1 Risk Assessment Safety rating Zero-No risk assessment and contingency plan Low - some parts of the assessment or plan has been completed, but not comprehensive. Average - Both assessment and plan has been completed including back up plans and personnel have been trained but infrastructure and plans have not be reviewed or maintained. High - Full risk assessment conducted and fed into the contingency plan. Personnel have been trained, back up infrastructure is in place and the plans are regularly reviewed. Key personnel are identified (i.e. decision makers, who has access facilities to areas etc.) |  | 0% | 100% | 200% | 300%
2.1.2 Identiffication of facility Safety rating Zero-Coordinates haven’t been shared, no signs of identification Low-coordinates may have been given to some authorities and belligerents and a minimum amount of signs shown. No considerations have been given to the surrounding area. Average- Coordinates have been given to the correct authorities and belligerents and signs are visible. Some considerations have been given to the surrounding. High-Signs of identification has been displayed and authorities and belligerents are informed. Clear considerations have been given to the surrounding and where necessary, is part of risk assessment (and consequently the contingency plans) to combat a potential problem. N/A-Not applicable to this situation (Where identification is not the desirable situation for the health care facility, then this indicator is not applicable). | 1000% | 0% | 100% | 200% | 300%
2.1.3 "No weapons" policy Safety rating Zero-No signs or procedures Low - there are no "No weapons" signs that are clearly displayed and discussions with staff or security personals have been minimal. Average -"No weapons" signs are displayed and discussions have been conducted with appropriate staff on how to apply this policy and what to do in difficult circumstances. High - "No weapons" signs are displayed and "No weapon" policy explained to members of staff including what to do in difficult circumstances. Further, there are discussions and dialogues with parties to the conflict and community leaders about this policy. N/A-Not applicable to this situation (In environments where the use of weapons is not prominent, then this indicator is not applicable) | 1000% | 0% | 100% | 200% | 300%
2.1.4 Perception Review Safety rating Zero- No attempt at communicating Low - Very minimal communication has happened between few stakeholders. Average -Some communication has started with relevant stakeholders however no communication plan in place High - Continuous communication with all stakeholders and a concise plan in place to continuing communicating effectively to all stakeholders. N/A-Not applicable to this situation (Where communication with local or national stakeholders is not the desirable situation, then this indicator is not applicable). | 1000% | 0% | 100% | 200% | 300%
2.1.5 Fire Protection Safety rating Zero- nothing is in place to prevent or deal with a fire Low-There are some fire extinguishers/hydrants, but their maintenance is not systematically monitored. No or little contact with firefighters and no drills are performed. Average- Fire extinguishers/hydrants and smoke detectors may be installed but they are infrequently maintained. Risk areas are identified and extra measures are given to not impede facility’s function. There is a fire management procedure in place but drills and training are infrequent High-The facility has appropriate fire control measures and staff are trained on how to use it. There are also fire detection mechanisms in place which are inspected regularly. There are good communication with local firefighters and they are aware of the layout of the health care facility. |  | 0% | 100% | 200% | 300%
2.1.6 Monitoring of Health care facility Safety rating Zero- No monitoring system in place. Low: Some monitoring takes place in few areas. Average: There is a monitoring process in place but are limited to certain areas or are not available for the duration needed due to lack of resources High: There is full monitoring of the facility for the duration that is necessary. There are clear reporting systems in place that have been discussed with staff in how to report incidents and how to raise any concerns. N/A-Not applicable to this situation. |  | 0% | 100% | 200% | 300%
Media and People
2.2.1 Media Strategy Safety rating Zero- No procedures exist Low-Procedures do not exist, no spokesperson nominated but engage with media when directly contacted. Average-Procedures exist and nominated spokespersons have been trained. High-Procedures exist, nominated spokespersons have been trained and pragmatic steps to engagement with media and appropriate persons. N/A-Not applicable to this situation (Where media strategy is irrelevant, not necessary or desirable not to have one, then this indicator is not applicable.) |  | 0% | 100% | 200% | 300%
2.2.2.1 Accomodating needs of patient's relatives Safety rating Zero-There is no consideration for patient’s relatives Low-There is no dedicated spaces for relatives. Staff are not trained to deal with relatives and their concerns but still there is some communication between staff and relatives. Average-There is some limited dedicated space for relatives and staff are trained with how to deal with relatives of patients. Washing, toilets, cleaning and cooking (food) infrastructure has been accounted for. High-there is appropriate space for relatives and staff are trained with how to deal with relatives of patients. Washing, toilets, cleaning and cooking infrastructure has been accounted for and is ready to be used. N/A-Not applicable to this situation (In health care facilities were accommodating patient's family, or even patients themselves are not necessary, then this indicator is not applicable.) |  | 0% | 100% | 200% | 300%
2.2.2.2 Management of patient information Safety rating Zero-Currently bad procedures to deal with patient’s information Low-Procedures for emergency situations specifically do not exist. Average-procedures for emergency exists and personnel have been trained but could be lack of resources or no backup plans. High-Procedures for emergency situations exist, personnel have been trained, and resources are in place for implementation. |  | 0% | 100% | 200% | 300%
2.2.3.1 Surge capacity of personnel and equipment Safety rating Zero- No thought has been given to emergency situations. Low-Procedures exist but are poor or staff are not aware. Average-Procedures exist and personnel have been trained but number of staff in emergency situation are not available. Extra equipment has been located elsewhere but resources are still too low. High-Procedures exist, personnel have been trained and there is enough staff to meet anticipated needs in an emergency. Records of extra equipment are available and up to date, and logistics are also looked into. |  | 0% | 100% | 200% | 300%
2.2.3.2 Stocks of medicines and instruments Safety rating Zero-No knowledge of what is currently available in the facility. Low-Knowledge of what is in the facility, but no system in place to know what is needed and how to know when levels fall. Average-there is a system in place that identifies the crucial items that should always be available. There are trained persons to identify when there is a fall in stock and when more needs to be ordered. However in an emergency, the supply would last less than 72 hours . High-There is a system in place that identifies the crucial items that should always be available. There are trained persons to identify when there is a fall in stock and when more needs to be ordered. In an emergency the stock would last more than 72 hours. |  | 0% | 100% | 200% | 300%
2.2.3.3 Storage of supplies Safety rating Zero-Currently no storage Low-No extra storage is available, or storage is available but not protected- Average-there are storage facilities in place which gives account for the extra capacity needed in emergency. Some supplies are spread to ensure relatively easy access. High-There are storage facility in place which gives account for the extra capacity needed in an emergency. Further, the storage facilities are documented and reviewed so maintained. Personnel are trained accordingly. Supplies are strategically placed to ensure that they are accessible to the relevant persons regardless of the situation of the health care facility N/A-Not applicable to this situation (Where extra storage of supplies is not necessary to maintain the daily operations of the health care facility, or when the health care facility is located within the supply chain, then this indicator is not necessary) | 1000% | 0% | 100% | 200% | 300%
Relocation
2.3.1 Suitability of relocation Safety rating Zero-No assessment is carried out. Low-some assessments are conducted. Average-the newly assigned location is based on limited planning and not everything is addressed in the assessment. High-Transferred proceeded with planning based on identification of prioritized services. The assessments prove there are good reasons to move and that the area specifically is good for the kind of health care facility. N/A-Not applicable to this situation (Where a health care facility will never be in a position to relocate within the hazards presented (due to its function, other nearby facilities etc.) then this indicator is not applicable) |  | 0% | 100% | 200% | 300%
2.3.2 Evacuation Safety ratings Zero-Ad hoc understanding of how to move. Low-plan does not exist or exists only as a document. Average-plan exists and personnel have been informed of what to do but tests are not conducted. High-Plan exists, personnel have been trained and evacuation drills are held regularly. N/A-Not applicable to this situation (Where a health care facility will never be in a position to relocate within the hazards presented (due to its function, other nearby facilities etc.) then this indicator is not applicable) |  | 0% | 100% | 200% | 300%
Access
2.4.1 Access route Safety rating Low-there is only one route to and from the health care facility Average-there are other routes that have been identified. High-there are alternative routes identified and are included in assessments and planning. The quality of such routes have been accounted for. Where appropriate, local authorities have been approached to discuss the uses of these sites in more details. |  |  | 100% | 200% | 300%
2.4.2. Access of health care personnel and ambulances Safety rating Zero-Currently bad procedures in place Low-no special procedures exist Average-there are separate routes for personnel or ambulances High-there are separate routes for personnel or ambulances and this has been communicated to relevant personnel are informed and special measures are in place. N/A-Not applicable to this situation (Where health care facilities do not need specific or alternative routes to the facility (i.e. for ambulances etc.) then this indicator is not applicable.) | 1000% | 0% | 100% | 200% | 300%
2.4.3 Secure supplier resources Safety ratings- Zero-currently have an unreliable supply. Low- No special procedures for emergency situation. Average- alternative suppliers and routes are available. High-alternative suppliers have been identified and there are continued discussions with them regarding what may be needed with an understanding of the current situation. |  | 0% | 100% | 200% | 300%
Managing access and control
3.1.1 Saftey of internal and external lighting system Safety rating Zero-There are no lighting Low - Internal and external lighting systems are in poor condition and there are no protective measures. Average – Lighting is in fair condition; some measures provide partial protection. High – Lighting is in good condition, well-protected and in good working order. Sufficient stock and back up plans are in place. |  | 0% | 100% | 200% | 300%
3.1.2 Safety of perimeter fence Safety ratings Zero - No fence/ perimeter wall Low - The existing one is in poor condition, subject to damage which would impede the function of this and other elements, systems or operations . Average - There is a perimeter wall or fence exists, but not completely efficient due to partial damage or height is not enough for its purpose. High - A good quality perimeter wall or fence exists, and it is in good condition. The fence is not damaged, maintained and is high enough for its purpose. N/A-Not applicable to this situation(Where health care facilities do not need perimeter fence because of its location or function, or when the facility is within another facility and the fence is not needed, then this indicator is not relevant.) | 1000% | 0% | 100% | 200% | 300%
3.1.3 Safety of gates and entrances Safety ratings: Zero - No gates or entrance screening. Low - The existing gates are in poor condition and is easily damaged. Average - There is a physical infrastructure in place and the gates are in good order. There are no procedures for an emergency-both lack of resources (staff and infrastructure) High - All influx to the facilities (people and vehicles) go through adequate security. The infrastructure is checked thoroughly and frequently. The Parking space is out of the secured perimeter of the facilities (except for ambulances). N/A-Not applicable to this situation(Where health care facilities do not require specific screening requirements due to its location of function of the facility, or when the facility is within another facility, then this indicator is not relevant.) | 1000% | 0% | 100% | 200% | 300%
Structure
3.2.1 Condition of the building Safety ratings: Zero-No maintenance i.e. lots of holes in building, potentially dampness and broken parts with severe weathering. Low - Potentially cracks on some of the walls other internal problems such as dampness. Major deterioration caused by weathering. But there have been some maintenance procedures. Average - Some deterioration caused only by potential weathering. Internally, it is generally well maintained. High - No deterioration or cracks observed. Exterior has not been affected by weathering and internally there are procedures in place to maintain the facility to a good finish. |  | 0% | 100% | 200% | 300%
3.2.2 Structural integrity Safety ratings Low - Poor structural system; Cracks on the ground and first floors; construction materials with flaking; cracks larger than 3mm (concrete) excessive deformations (steel and wood). Average - Moderate structural system design Moderate damage and building only partially repaired; Presence of cracks between 1 and 3 mm (concrete), moderate and visible deformations (steel and wood) or rust with no flaking. High - Good structural system design Cracks less than 1 mm (concrete), no visible deformations; no rust. Minor or no damage, or building fully repaired. |  |  | 100% | 200% | 300%
3.2.3 Material Safety ratings Low - Weak construction materials such as wood, bamboo, tarpaulins, tents etc. Average - Buildings constructed with resistant materials such as concrete and masonry. High - Robust construction materials such as masonry and reinforced concrete with fire considerations incorporated in. |  |  | 100% | 200% | 300%
3.2.4 Passive security measures Safety level Zero- critical areas not identified Low - Minimum considerations are given and lack of resources are available Average - Consideration has been given to one or more of the safety infrastructure proposals, and basic procedures are in place. There are lack of resources but staff are trained. High - The facility has considered which safety infrastructure is relevant to its facility and they have been fitted and there are procedures are in place for them to be used. N/A-Not applicable to this situation (Where the facility is only one unity and only has space for that one unit, or is such need is irrelevant to the context of the facility, then this indicator is not applicable.) | 1000% | 0% | 100% | 200% | 300%
Layout
3.3.1 Distribution of critical areas Safety levels: Zero- Critical areas aren’t identified. Low: No specific measures are taken to secure access to Critical areas; Average: Some security measures exists (eg. Security fencing or locked doors) but scarce or no staff vigilance over these areas. High: Existence of a specific fencing or secured doors to access these areas, existence of monitoring system is in place. These areas are situated in the core or the building, not easily accessible through windows or outside doors. |  | 0% | 100% | 200% | 300%
3.3.2 Facility layout: spread vs concentrated Safety rating Spread- Services are broken into smaller, single story, separate buildings within the plot. Medium Concentration - Large, low-rise buildings, with a medium density of equipment and users per ground floor area. Concentrated- All the services (healthcare and supportive services) are concentrated in a single (multi story) building. Large scale buildings with a high concentration of equipment and people. |  |  | 100% | 200% | 300%
3.3.3 Existence of free space Safety ratings: Zero - No free space Low - Space for expansion has not been identified but potentially some areas could be used. Average - Space has been identified and it is enough to allow a significant extension of the activities. For example you have free space to increase of 50% the number of beds are already present in the facility. Use 12-15 m2 per bed as reference. High - Space is identified, and it is big enough to accommodate a surface equivalent of the existing number of beds. Knowledge of what resources and equipment is known and readily available. Procedures exist and have been tested, personnel have been trained, and equipment, supplies and other resources are available to carry out the expansion of space. N/A-Not applicable to this situation (Where health care facility does not require further space to continue daily operations in case of an emergency, then this indicator is not applicable.) | 1000% | 0% | 100% | 200% | 300%
3.3.4 Location of Valuable assets Safety rating Zero-no considerations given to valuable assets. Low - Valuable assets (e.g. pharmacy products and valuable equipment) are stored in areas easy to access, with no protective measures (e.g. No lockers or protected windows and doors, no staff presence) Average - Valuable assets are stored in places where some measures provide partial protection. High - Valuable assets are stored in locked rooms, and in areas within the facility that have higher levels of protection in case of partial destruction of the facilitie. N/A-Not applicable to this situations (Where health care facilities only consist of one asset or has no value asset but the one unit that it is, then this indicator is not relevant.) | 1000% | 0% | 100% | 200% | 300%
Exposure
3.4.1 Opening: Windows Safety ratings: Zero - Broken or no windows-just holes in the wall Low - Windows in poor condition and can be easily damaged. Average - Windows in fair condition and not easily damaged. The material, hinges and security measures of the windows have been considered and accounted for. High - Windows in good condition and the material, hinges and security measures of the windows have been considered and accounted for. Exterior windows have extra measures such as laminated or grids (where possible or important). Critical areas have been extra consideration. |  | 0% | 100% | 200% | 300%
3.4.2 Opening:doors Safety ratings: Zero -There are no doors-just open space. Low - Doors in poor condition and subject to damages. Doors do not have locks and are made of weak materials. Average - Most doors in fair condition. The doors of critical areas or rooms are of good quality material and have good handles/locks. High - All doors in good condition, with security procedures in place and made of good material. Critical areas are given extra attention and more security measures. |  | 0% | 100% | 200% | 300%
3.4.3 Exposure of the building Safety ratings Zero-all critical areas are exposed. Low - Most façades and windows are completely exposed and facing an open exterior area. Average - Most façades and windows facing exterior areas but are partly covered (by annexed buildings, trees, blinders, etc.). High - Most parts of the facilities (especially the critical areas) are not exposed from the exterior, (For example low-rise buildings protected by high walls, or existence of inner courtyards where most of the ward windows are facing.) |  | 0% | 100% | 200% | 300%
3.4.4 Standoff distance Safety ratings: Zero - The main health facility walls are directly exposed onto the outside. Low - Limited (<10m) distance between the closest building exist. Average - there is 30m standoff distance but no or light fence. High - Standoff distance is more than 30m and the perimeter consist of a solid wall (e.g.: masonry or concrete wall). N/A-Not applicable to this situation(Where health care facilities are within other facilities, or when there is no need for a standoff distance for the facility in question (due to the context of the facility) then this indicator is not relevant.) | 1000% | 0% | 100% | 200% | 300%
3.4.5 Protection of risk areas Safety rating Zero-No consideration for important assets. Low -Some consideration has been given for critical assets but no emergency procedures are prepared. Average-there are monitoring procedures in place to ensure protection for critical assets. High -such areas are properly protected and secured. There are backup plans in the event there is a fall in procedures or trespassing. N/A-Not applicable to this situation(Where health care facilities consist of only one specific asset, or have no risk areas, then this indicator is not relevant.) | 1000% | 0% | 100% | 200% | 300%
Internal Ciruclation
3.5.1 Safety of movement Safety ratings: Zero - Corridors and circulation spaces do not exist. Low - Corridors are not wide enough or have obstacles which provide difficult for accessibility. Access into different rooms is too difficult for wheelchair access or stretches Average - Corridors do not have obstacles in place. There is clear signs around the health care facility including unauthorized areas. Most areas do not have more than one route to access a particular part of the health care facility. High - Corridors are at least two stretches wide and do not have any obstacles hindering the movement. The facility is clearly signed. Most areas have more than one access route. N/A-Not applicable to this situation (Where there are no corridors or a need for patients or staff to move around the facility, then this indicator is not relevant) | 1000% | 0% | 100% | 200% | 300%
3.5.2 Safety of stairways Safety ratings: Zero - Stairs cannot be used due to damage or obstacle Low - Overall the stairs are not maintained well, are damaged, or prone to damage. There are some obstacles in place which doesn’t allow the smooth use of stairs. Average - The stairs are easy to use with railings and are in good condition. They are not damaged but there are obstacles in the way which could be potentially dangerous or hazardous High - The stairs are not damaged and are wide enough for the needs of the facility. There are no obstacles in the way. Stairs in areas of highly concentrated persons are inspected regularly. N/A-Not applicable to this situation (Where the health care facility does not have stairs or are in not need of them, then this indicator is not relevant.) | 1000% | 0% | 100% | 200% | 300%
3.5.3 Safety of elevator system Safety ratings: Zero-Elevators are not functioning. Low - Elevators are damaged and are not stable in functionality. Average - Elevators are functioning well and meet the demands of the facility’s needs. They are maintained regularly. High - Elevators are functioning well and meet the demands of the health care facility’s needs. They are maintained well and there are measures in place to protect from any potential damage and staff are aware of when it should not be used. N/A - Not applicable in this situation(Where health care facilities do not have elevators or are not in need of them, then this indicator is not relevant.) | 1000% | 0% | 100% | 200% | 300%
3.5.4 Evacuation route Safety ratings: Zero- No exit routes available Low - Exit and evacuation routes are not clearly marked and many are blocked. Average - Some exit and evacuation routes are marked and most of them are clear of obstacles; High-Routes clearly marked and personnel are aware of the routes. Drills and training are conducted frequently. N/A-Not applicable to this situation |  | 0% | 100% | 200% | 300%
Self-sufficiency and safety of basic infrastucture
3.6.1 Safety of telecommunication systemy Safety rating Zero- No communication system Low-Communication equipment is in poor condition with no protective measures. There are no alternative communication system or do not work. Average-Communication equipment is in fair condition with some measures for partial protection. There is a facility wide alternative communication system in fair condition but not tested annually. Personnel have been trained but no concise back up plan. High-Communication equipment is in good condition, well secured and measures are in place. There is a facility wide alternate communication system in fair condition and is tested on an annual basis. Backup plan is in place. Resources are in place for implementing emergency maintenance and restoration. |  | 0% | 100% | 200% | 300%
3.6.2 Safety of water supply Safety rating Zero-No water supply Low-Water infrastructure is in poor state and/or poorly maintained. It may provide storage capacity of less than a day (use 50-80 liter/bed*day as reference). Average- Current infrastructure is in good condition and secure. A storage capacity between 1 and 3 days exists. High-Current infrastructure is in good condition and secure. Water meets recognized standards of quality. An alternative backup infrastructure is able to provide at least 3 days of water demand, to all critical areas. Plans for rationalization of the consumption exist and the relative infrastructure is in place. |  | 0% | 100% | 200% | 300%
3.6.3 Safety of electrical equipment Safety rating Zero- The existing electrical network is deficient and no back-up sources are available. Low-Power supply is not stable. The internal electrical network is in poor conditions and prone to accidents (switchboards in bad state and not protected, cables and main connections exposed) Backup sources are missing or generator is in poor condition. Average-The overall conditions of the network is acceptable and main elements protected (switchboards, connections, transformers, etc.) Alternative sources is not fully stable but will automatically come back in quickly in critical areas. Generators are in fair condition, protected and occasionally tested. High- Main network elements are protected (buried cables, locked boxes for switch board, etc.). The network parts are documented and plans of maintenance exist. Back-up sources starts automatically quickly and is stable and of good quality allowing the continuity of service of medical equipment. Generators are in good condition, protected and tested frequently. |  | 0% | 100% | 200% | 300%
3.6.4 Safety of medical waste disposal Safety rating Zero- There is currently inadequate disposal of medical waste with no backup plan Low-The current infrastructure is fair but there are no backup plans to dispose of medical waste Average-The current infrastructure is in good condition. There is a backup plan and personnel are trained however there is not enough resources. High-Current infrastructure is in good condition. There is a backup plan to dispose of medical waste and personnel are trained and the infrastructure is in place just for an emergency. . N/A-Not applicable to this situation | 1000% | 0% | 100% | 200% | 300%
3.6.5 Safety of sewage disposal Safety rating- Zero-current wastewater management is poorly managed. Low-Current system is in fair condition but no backup plans to dispose of wastewater safely. Average-The current infrastructure is in good condition and is secured. There is no backup plan, but current system can handle an increase in capacity. Personnel are partially trained in case of emergency situation. High-The current infrastructure is in good condition and is secured. There is a backup plan to dispose of wastewater and personnel are trained. This infrastructure is in place and well maintained in case of an emergency. N/A-Not applicable to this situation(Where a health care facility is within a facility in charge of sewage disposal, or the facility does not produce wastewater then this indicator is not relevant) | 1000% | 0% | 100% | 200% | 300%
3.6.6. Safety of storage and evacuation of corpses Safety rating Zero- Normal operational process of corpses is inadequate Low-Procedures for mass fatality incident does not exist or exists only as a document. Average-Procedures exist and personnel have been trained, but the level of resources for emergency is not sufficient. High-Procedures exit, personnel have been trained and resources are available for implementation of procedures at maximum health care facility capacity in emergency situation. N/A-Not applicable to this situation(Where management of corpses are not part of the daily operations of the facility, then this indicator is not relevant) | 1000% | 0% | 100% | 200% | 300%

## 1_HCiD_Dashboard
Health Care in Danger Index
Data Interpretation Tool - Demo
| 67% | Low
0%
| 0% | High
|  |  | High | 0 | 0
|  |  | 0 | 0 | 0
|  |  | 0 | 0 | 0
Preparedness Score
Out of what can be done
Low Average High
Risk Assesssment Confidence
Overall Hazards Likilihood
Low Average High
Urgency of Action
Urgency to promote HCiD interventions
Facility Preparedness
Priority of Interventions
Assessment Detailed Results
HCiD Index
Exposure
Context Related Factors
Overall Hazards likelihood
Prepardeness
Health Care Facility
Low Average High
35% 50%

## 2_WeightingAssistent
DOMAIN |  | IMPERATIVE |  |  |  |  | Sceanrio 3 |  | CATEGORY |  | Scenario 1 |  | Scenario 2 |  | Scenario 3 | Item |  | Scenario 1 |  |  | Scenario 2 |  |  |  |  | Scenario 3
Name | Score | Name | Scoring | Score | Scoring | Weight | Scoring | Weight | Name | Scoring | Score | Scoring | Weight | Scoring | Weight | Name | Code | Direct | Scoring | Score | Direct | Scoring |  | Direction |  | Weight
Scoring
|  |  |  | 100% |  | 100% |  | 100% |  |  | 70.0% |  | 70.0% |  | 70.0% |  |  |  |  | 20% |  |  | 20% |  |  | 20%
MANAGEMENT | 30% | PROCESS/PREPARDNESS | 500% | 13% | 1000% | 25% | 500% | 15% | Safety and security framework | 100% | 13% | 100% | 25% | 100% | 15% | Risk assesment & Contingency planning | Contingency Plan | + | 1100% | 5.3% | + | 500% | 5.2% | + | 1000% | 5.2%
[16 empty] | Identification | Identification | + | 300% | 1.4% | + | 200% | 2.1% | + | 100% | 0.5%
[16 empty] | "No weapons" policy | Wo weapons | + | 0% | 0.0% | + | 100% | 1.0% | + | 200% | 1.0%
[16 empty] | Perception review | Perception | + | 100% | 0.5% | + | 100% | 1.0% | + | 200% | 1.0%
[16 empty] | Fire protection system | Fire | + | 1000% | 4.8% | + | 500% | 5.2% | + | 1000% | 5.2%
[16 empty] | Monitoring of a HC facility HR guards | Monitoring | + | 100% | 0.5% | + | 1000% | 10.4% | + | 400% | 2.1%
|  | PEOPLE | 400% | 10% | 100% | 3% | 400% | 12% | Media | 50% | 1% | 50% | 1% | 50% | 1% | Media strategy | Media | + | 100% | 0.8% | + | 100% | 0.5% | + | 100% | 0.6%
[9 empty] | Patients and relatives | 200% | 3% | 100% | 1% | 300% | 4% | Accomodating needs of patients' relatives | Relatives | + | 100% | 1.5% | + | 100% | 0.5% | + | 100% | 1.9%
[16 empty] | Protection of patients medical records | Records | + | 100% | 1.5% | + | 100% | 0.5% | + | 100% | 1.9%
[9 empty] | Staff & Equipments | 400% | 6% | 100% | 1% | 600% | 8% | Surge capacity | Surge | + | 100% | 2.1% | - | 100% | 0.3% | + | 500% | 3.4%
[16 empty] | Stock of medicines, instruments and other items | Pharmacy | + | 100% | 2.1% | - | 100% | 0.3% | + | 300% | 2.1%
[16 empty] | Storage of supplies | Supplies | + | 100% | 2.1% | - | 100% | 0.3% | + | 300% | 2.1%
|  | RELOCATION | 100% | 3% | 0% | 0% | 0% | 0% | Re-Location | 100% | 3% | 0% | 0% | 100% | 0% | Suitability of new location | Relocation | + | 200% | 1.0% | + | 0% | 0.0% | + | 100% | 0.0%
[16 empty] | Evacuation | Evacuation | + | 300% | 1.5% | + | 0% | 0.0% | + | 100% | 0.0%
|  | ACCESS | 200% | 5% | 100% | 3% | 100% | 3% | Access External | 200% | 5% | 100% | 3% | 100% | 3% | Access routes | Access | + | 100% | 1.7% | + | 100% | 2.5% | + | 300% | 1.5%
[16 empty] | Access of HC personnel and ambulances | Ambulances | + | 100% | 1.7% | + | 0% | 0.0% | + | 200% | 1.0%
[16 empty] | Secure supplier resources | Supplier | + | 100% | 1.7% | + | 0% | 0.0% | + | 100% | 0.5%
INFRASTRUCTURE | 70% | INFRASTRUCTURE | 100% | 70% | 100% | 70% | 100% | 70% | Managing Access and Control Entries | 100% | 3% | 900% | 27% | 400% | 17% | Lighting systems | Lighting | + | 200% | 1.3% | + | 200% | 9.1% | + | 200% | 3.8%
[16 empty] | Safety of the perimeter fence | Fence | + | 100% | 0.6% | + | 200% | 9.1% | + | 400% | 7.7%
[16 empty] | Gates and entrances | Gates | + | 100% | 0.6% | + | 200% | 9.1% | + | 300% | 5.8%
[9 empty] | Structural Preventive Measures | 600% | 16% | 200% | 6% | 20% | 1% | Conditions | Conditions | + | 0% | 0.0% | + | 100% | 3.0% | - | 100% | 0.9%
[16 empty] | Structural Integrity | Integrity | + | 200% | 5.2% | + | 0% | 0.0% | + | 0% | 0.0%
[16 empty] | Reinforce critical structure element | Structural measures | + | 100% | 2.6% | + | 0% | 0.0% | + | 0% | 0.0%
[16 empty] | Structure material | Material | + | 300% | 7.8% | + | 100% | 3.0% | + | 0% | 0.0%
[9 empty] | Layout : space arrengements | 800% | 21% | 500% | 15% | 400% | 17% | Distribution operational priority areas | Distribution | + | 300% | 5.7% | + | 100% | 2.2% | + | 200% | 4.9%
[16 empty] | Concentrated vs. Spread | Spread | - | 600% | 11.3% | + | 200% | 4.3% | + | 0% | 0.0%
[16 empty] | Existence of free space | Breathing | + | 200% | 3.8% | + | 0% | 0.0% | + | 400% | 9.9%
[16 empty] | Location of valuable assests | Valuable | + | 0% | 0.0% | + | 400% | 8.7% | + | 100% | 2.5%
[9 empty] | Exposure to external threaths | 400% | 10% | 400% | 12% | 100% | 4% | Opening: windows | Windows | + | 200% | 2.6% | + | 400% | 5.4% | + | 100% | 0.7%
[16 empty] | Opening: doors | Doors | + | 300% | 3.9% | + | 200% | 2.7% | + | 200% | 1.4%
[16 empty] | Opening exposure | Exposure | + | 100% | 1.3% | + | 200% | 2.7% | + | 200% | 1.4%
[16 empty] | Standoff distance | Standoff | + | 200% | 2.6% | + | 0% | 0.0% | + | 0% | 0.0%
[16 empty] | Internal fencing | Int_fence | + | 0% | 0.0% | + | 100% | 1.4% | + | 100% | 0.7%
[9 empty] | Internal Circulation | 200% | 5% | 200% | 6% | 400% | 17% | Safety of mouvements | Mouvements | + | 200% | 1.5% | - | 100% | 1.5% | + | 200% | 6.9%
[16 empty] | Safety of stairways | Stairs | + | 200% | 1.5% | + | 0% | 0.0% | + | 100% | 3.5%
[16 empty] | Safety of elevator system | Elevator | + | 100% | 0.7% | + | 0% | 0.0% | + | 100% | 3.5%
[16 empty] | Evacuation routes | Exits | + | 200% | 1.5% | + | 300% | 4.6% | + | 100% | 3.5%
[9 empty] | Self-sufficiency | 600% | 16% | 100% | 3% | 300% | 13% | Safety of telecommmunication system | Telecom | + | 300% | 3.1% | + | 100% | 3.0% | + | 200% | 2.2%
[16 empty] | Safety of water system | Water | + | 200% | 2.1% | + | 0% | 0.0% | + | 100% | 1.1%
[16 empty] | Safety of electrical system | Electrical | + | 400% | 4.1% | + | 0% | 0.0% | + | 300% | 3.2%
[16 empty] | Safe disposal of medical waste | Waste | + | 400% | 4.1% | + | 0% | 0.0% | + | 300% | 3.2%
[16 empty] | Safety of sewage disposal | Sewage | + | 100% | 1.0% | + | 0% | 0.0% | + | 100% | 1.1%
[16 empty] | Safety of dead body evacuation | Dead | + | 100% | 1.0% | + | 0% | 0.0% | + | 200% | 2.2%
| 100% |  |  | 100% |  | 100% |  | 100% |  |  | 100% |  | 100% |  | 100% |  |  |  |  | 100% |  |  | 100% |  |  | 100%

## 3_DataSlave
Domain | Situation | Scenario | Opss | Scenario short | Deviation from mean | Max deviation | Boosted scoring | Original weight | User Boosted weight | [10 empty] | User scenario scores
Module 1 - HAZARD | Indirect (and direct) use of Heavy weapons | Heavy weapons | Fuck, they are bombing us! | Bombing | 0.33 | 0.33 | 7.00 | 50.0% | 70.0% | [10 empty] | 3
Module 1 - HAZARD | Intrusion (armed/non armed/robbery) | Intrusion | Hail To The Thief | Intrusion | 0.00 | 0.00 | 2.00 | 33.3% | 20.0% | [10 empty] | 2
Module 1 - HAZARD | Civil unrest leading to MIW (riots) | Massive Influx Wunded | The city is on fire | MIW | -0.33 | 0.00 | 1.00 | 16.7% | 10.0% | [10 empty] | 1 |  |  |  | Overwrite Internal Exposure to produce to total available score |  |  |  | write Only Internal Exposure Ex. Spread |  |  | Write Only portion Ext. Exp. | Write Prepardness j excluding all Exposures
Module 1 - HAZARD | External Infrastructure | External Infrastructure | Black Hole effect | Ext. Infrastr. | [15 empty] | 1
Module 1 - HAZARD | Confidence in Risk Analysis | Confidence in Risk Analysis | Better be sure | Confidence | [15 empty] | 1 | [8 empty] | Int. ii |  | Ext ei
Domain | Imperative | Category | Indicator | Indic. short | d1 | w1 | d2 | w2 | d3 | w3 | User score | Identify the N/A and write their score |  |  | Add the score not attributed because of the N/A |  |  | ii | ei |  | dij*wij*pj = vij | [5 empty] | Achievable | x'i1 | x'i2 | x'i3 | (∑j(-1)*vi)/p | Indicator score weighted by scenario & user excluded those all exposure int & ext |  |  | Prepardeness | HCiD/Avail. | Pie tot. overall | Potential to increase | Rank potential | Top 5 Priority
Module 2 - MANAGEMENT | PROCESS/PREPARDNESS | Safety and security framework | Risk assesment & Contingency planning | Contingency Plan | + | 5.29% | + | 5.21% | + | 5.17% | 1.00 | 0.00% | 0.00% | 0.00% | 6.34% | 6.12% | 5.79% | 0 | 1 |  | 4.44% | 1.22% | 0.58% | 4.44% | 1.22% | 0.58% | 6.24% | 0.00% | 0.00% | 0.00% | 0.00% | 4.44% | 1.22% | 0.58% | 6.24% | 100% | 0% | 0.00% | 32.0
Module 2 - MANAGEMENT | PROCESS/PREPARDNESS | Safety and security framework | Identification | Identification | + | 1.44% | + | 2.08% | + | 0.52% | 0.33 | 0.00% | 0.00% | 0.00% | 2.49% | 3.00% | 1.13% | 0 | 0 |  | 1.74% | 0.60% | 0.11% | 1.74% | 0.60% | 0.11% | 2.46% | 0.00% | 0.00% | 0.00% | 0.00% | 0.58% | 0.20% | 0.04% | 0.81% | 33% | 67% | 1.65% | 6.0
Module 2 - MANAGEMENT | PROCESS/PREPARDNESS | Safety and security framework | "No weapons" policy | Wo weapons | + | 0.00% | + | 1.04% | + | 1.03% | 0.00 | 0.00% | 0.00% | 0.00% | 1.05% | 1.95% | 1.65% | 0 | 0 |  | 0.73% | 0.39% | 0.16% | 0.73% | 0.39% | 0.16% | 1.29% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0% | 100% | 1.29% | 11.0
Module 2 - MANAGEMENT | PROCESS/PREPARDNESS | Safety and security framework | Perception review | Perception | + | 0.48% | + | 1.04% | + | 1.03% | 1.00 | 0.00% | 0.00% | 0.00% | 1.53% | 1.95% | 1.65% | 0 | 0 |  | 1.07% | 0.39% | 0.16% | 1.07% | 0.39% | 0.16% | 1.63% | 0.00% | 0.00% | 0.00% | 0.00% | 1.07% | 0.39% | 0.16% | 1.63% | 100% | 0% | 0.00% | 32.0
Module 2 - MANAGEMENT | PROCESS/PREPARDNESS | Safety and security framework | Fire protection system | Fire | + | 4.81% | + | 5.21% | + | 5.17% | 1.00 | 0.00% | 0.00% | 0.00% | 5.86% | 6.12% | 5.79% | 0 | 1 |  | 4.10% | 1.22% | 0.58% | 4.10% | 1.22% | 0.58% | 5.90% | 0.00% | 0.00% | 0.00% | 0.00% | 4.10% | 1.22% | 0.58% | 5.90% | 100% | 0% | 0.00% | 32.0
Module 2 - MANAGEMENT | PROCESS/PREPARDNESS | Safety and security framework | Monitoring of a HC facility HR guards | Monitoring | + | 0.48% | + | 10.42% | + | 2.07% | 1.00 | 0.00% | 0.00% | 0.00% | 1.53% | 11.33% | 2.68% | 0 | 0 |  | 1.07% | 2.27% | 0.27% | 1.07% | 2.27% | 0.27% | 3.61% | 0.00% | 0.00% | 0.00% | 0.00% | 1.07% | 2.27% | 0.27% | 3.61% | 100% | 0% | 0.00% | 32.0
Module 2 - MANAGEMENT | PEOPLE | Media | Media strategy | Media | + | 0.77% | + | 0.50% | + | 0.63% | 0.66 | 0.00% | 0.00% | 0.00% | 1.82% | 1.41% | 1.25% | 0 | 0 |  | 1.27% | 0.28% | 0.12% | 1.27% | 0.28% | 0.12% | 1.68% | 0.00% | 0.00% | 0.00% | 0.00% | 0.84% | 0.19% | 0.08% | 1.11% | 66% | 34% | 0.57% | 19.0
Module 2 - MANAGEMENT | PEOPLE | Patients and relatives | Accomodating needs of patients' relatives | Relatives | + | 1.54% | + | 0.50% | + | 1.89% | 0.33 | 0.00% | 0.00% | 0.00% | 2.59% | 1.41% | 2.51% | 0 | 0 |  | 1.81% | 0.28% | 0.25% | 1.81% | 0.28% | 0.25% | 2.35% | 0.00% | 0.00% | 0.00% | 0.00% | 0.60% | 0.09% | 0.08% | 0.77% | 33% | 67% | 1.57% | 8.0
Module 2 - MANAGEMENT | PEOPLE | Patients and relatives | Protection of patients medical records | Records | + | 1.54% | + | 0.50% | + | 1.89% | 10.00 | 1.54% | 0.50% | 1.89% | 0.00% | 0.00% | 0.00% | 0 | 0 |  | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0% | 100% | 0.00% | 32.0
Module 2 - MANAGEMENT | PEOPLE | Staff & Equipments | Surge capacity | Surge | + | 2.05% | - | 0.33% | + | 3.44% | 0.33 | 0.00% | 0.00% | 0.00% | 3.10% | 1.25% | 4.06% | 0 | 1 |  | 2.17% | -0.25% | 0.41% | 2.17% | -0.25% | 0.41% | 2.33% | 0.00% | 0.00% | 0.00% | 0.00% | 0.72% | -0.08% | 0.13% | 0.77% | 33% | 67% | 1.56% | 9.0
Module 2 - MANAGEMENT | PEOPLE | Staff & Equipments | Stock of medicines, instruments and other items | Pharmacy | + | 2.05% | - | 0.33% | + | 2.07% | 1.00 | 0.00% | 0.00% | 0.00% | 3.10% | 1.25% | 2.68% | 0 | 1 |  | 2.17% | -0.25% | 0.27% | 2.17% | -0.25% | 0.27% | 2.19% | 0.00% | 0.00% | 0.00% | 0.00% | 2.17% | -0.25% | 0.27% | 2.19% | 100% | 0% | 0.00% | 32.0
Module 2 - MANAGEMENT | PEOPLE | Staff & Equipments | Storage of supplies | Supplies | + | 2.05% | - | 0.33% | + | 2.07% | 1.00 | 0.00% | 0.00% | 0.00% | 3.10% | 1.25% | 2.68% | 0 | 1 |  | 2.17% | -0.25% | 0.27% | 2.17% | -0.25% | 0.27% | 2.19% | 0.00% | 0.00% | 0.00% | 0.00% | 2.17% | -0.25% | 0.27% | 2.19% | 100% | 0% | 0.00% | 32.0
Module 2 - MANAGEMENT | RELOCATION | Re-Location | Suitability of new location | Relocation | + | 1.00% | + | 0.00% | + | 0.00% | 0.66 | 0.00% | 0.00% | 0.00% | 2.05% | 0.91% | 0.61% | 0 | 0 |  | 1.43% | 0.18% | 0.06% | 1.43% | 0.18% | 0.06% | 1.68% | 0.00% | 0.00% | 0.00% | 0.00% | 0.95% | 0.12% | 0.04% | 1.11% | 66% | 34% | 0.57% | 20.0
Module 2 - MANAGEMENT | RELOCATION | Re-Location | Evacuation | Evacuation | + | 1.50% | + | 0.00% | + | 0.00% | 10.00 | 1.50% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0 | 0 |  | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0% | 100% | 0.00% | 32.0
Module 2 - MANAGEMENT | ACCESS | Access External | Access routes | Access | + | 1.67% | + | 2.50% | + | 1.50% | 1.00 | 0.00% | 0.00% | 0.00% | 2.72% | 3.41% | 2.11% | 0 | 1 |  | 1.90% | 0.68% | 0.21% | 1.90% | 0.68% | 0.21% | 2.80% | 0.00% | 0.00% | 0.00% | 0.00% | 1.90% | 0.68% | 0.21% | 2.80% | 100% | 0% | 0.00% | 32.0
Module 2 - MANAGEMENT | ACCESS | Access External | Access of HC personnel and ambulances | Ambulances | + | 1.67% | + | 0.00% | + | 1.00% | 0.66 | 0.00% | 0.00% | 0.00% | 2.72% | 0.91% | 1.61% | 0 | 1 |  | 1.90% | 0.18% | 0.16% | 1.90% | 0.18% | 0.16% | 2.25% | 0.00% | 0.00% | 0.00% | 0.00% | 1.26% | 0.12% | 0.11% | 1.48% | 66% | 34% | 0.76% | 16.0
Module 2 - MANAGEMENT | ACCESS | Access External | Secure supplier resources | Supplier | + | 1.67% | + | 0.00% | + | 0.50% | 1.00 | 0.00% | 0.00% | 0.00% | 2.72% | 0.91% | 1.11% | 0 | 1 |  | 1.90% | 0.18% | 0.11% | 1.90% | 0.18% | 0.11% | 2.20% | 0.00% | 0.00% | 0.00% | 0.00% | 1.90% | 0.18% | 0.11% | 2.20% | 100% | 0% | 0.00% | 32.0
Module 3 - INFRASTRUCTURE | INFRASTRUCTURE | Managing Access and Control Entries | Lighting systems | Lighting | + | 1.30% | + | 9.13% | + | 3.84% | 10.00 | 1.30% | 9.13% | 3.84% | 0.00% | 0.00% | 0.00% | 0 | 0 |  | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0% | 100% | 0.00% | 32.0
Module 3 - INFRASTRUCTURE | INFRASTRUCTURE | Managing Access and Control Entries | Safety of the perimeter fence | Fence | + | 0.65% | + | 9.13% | + | 7.68% | 10.00 | 0.65% | 9.13% | 7.68% | 0.00% | 0.00% | 0.00% | 0 | 0 |  | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0% | 100% | 0.00% | 32.0
Module 3 - INFRASTRUCTURE | INFRASTRUCTURE | Managing Access and Control Entries | Gates and entrances | Gates | + | 0.65% | + | 9.13% | + | 5.76% | 1.00 | 0.00% | 0.00% | 0.00% | 1.70% | 10.04% | 6.38% | 0 | 0 |  | 1.19% | 2.01% | 0.64% | 1.19% | 2.01% | 0.64% | 3.83% | 0.00% | 0.00% | 0.00% | 0.00% | 1.19% | 2.01% | 0.64% | 3.83% | 100% | 0% | 0.00% | 32.0
Module 3 - INFRASTRUCTURE | INFRASTRUCTURE | Structure | Conditions | Conditions | + | 0.00% | + | 3.04% | - | 0.86% | 1.00 | 0.00% | 0.00% | 0.00% | 1.05% | 3.96% | 1.48% | 0 | 0 |  | 0.73% | 0.79% | -0.15% | 0.73% | 0.79% | -0.15% | 1.38% | 0.00% | 0.00% | 0.00% | 0.00% | 0.73% | 0.79% | -0.15% | 1.38% | 100% | 0% | 0.00% | 32.0
Module 3 - INFRASTRUCTURE | INFRASTRUCTURE | Structure | Structural Integrity | Integrity | + | 5.19% | + | 0.00% | + | 0.00% | 1.00 | 0.00% | 0.00% | 0.00% | 6.23% | 0.91% | 0.61% | 0 | 0 |  | 4.36% | 0.18% | 0.06% | 4.36% | 0.18% | 0.06% | 4.61% | 0.00% | 0.00% | 0.00% | 0.00% | 4.36% | 0.18% | 0.06% | 4.61% | 100% | 0% | 0.00% | 32.0
Module 3 - INFRASTRUCTURE | INFRASTRUCTURE | Structure | Reinforce critical structure element | Structural measures | + | 2.59% | + | 0.00% | + | 0.00% | 0.66 | 0.00% | 0.00% | 0.00% | 3.64% | 0.91% | 0.61% | 0 | 0 |  | 2.55% | 0.18% | 0.06% | 2.55% | 0.18% | 0.06% | 2.79% | 0.00% | 0.00% | 0.00% | 0.00% | 1.68% | 0.12% | 0.04% | 1.84% | 66% | 34% | 0.95% | 14.0
Module 3 - INFRASTRUCTURE | INFRASTRUCTURE | Structure | Structure material | Material | + | 7.78% | + | 3.04% | + | 0.00% | 10.00 | 7.78% | 3.04% | 0.00% | 0.00% | 0.00% | 0.00% | 0 | 0 |  | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0% | 100% | 0.00% | 32.0
Module 3 - INFRASTRUCTURE | INFRASTRUCTURE | Layout : space arrengements | Distribution operational priority areas | Distribution | + | 5.66% | + | 2.17% | + | 4.94% | 10.00 | 5.66% | 2.17% | 4.94% | 0.00% | 0.00% | 0.00% | 0 | 0 |  | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0% | 100% | 0.00% | 32.0
Module 3 - INFRASTRUCTURE | INFRASTRUCTURE | Layout : space arrengements | Concentrated vs. Spread | Spread | - | 11.31% | + | 4.35% | + | 0.00% | 10.00 | 11.31% | 4.35% | 0.00% | 0.00% | 0.00% | 0.00% | 1 | 0 |  | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0% | 100% | 0.00% | 32.0
Module 3 - INFRASTRUCTURE | INFRASTRUCTURE | Layout : space arrengements | Existence of free space | Breathing | + | 3.77% | + | 0.00% | + | 9.88% | 0.00 | 0.00% | 0.00% | 0.00% | 4.82% | 0.91% | 10.49% | 0 | 0 |  | 3.37% | 0.18% | 1.05% | 3.37% | 0.18% | 1.05% | 4.61% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0% | 100% | 4.61% | 1.0 | 4.61%
Module 3 - INFRASTRUCTURE | INFRASTRUCTURE | Layout : space arrengements | Location of valuable assests | Valuable | + | 0.00% | + | 8.70% | + | 2.47% | 0.66 | 0.00% | 0.00% | 0.00% | 1.05% | 9.61% | 3.08% | 0 | 0 |  | 0.73% | 1.92% | 0.31% | 0.73% | 1.92% | 0.31% | 2.96% | 0.00% | 0.00% | 0.00% | 0.00% | 0.49% | 1.27% | 0.20% | 1.96% | 66% | 34% | 1.01% | 13.0
Module 3 - INFRASTRUCTURE | INFRASTRUCTURE | Exposure to external threaths | Opening: windows | Windows | + | 2.59% | + | 5.41% | + | 0.72% | 1.00 | 0.00% | 0.00% | 0.00% | 3.64% | 6.32% | 1.33% | 0 | 0 |  | 2.55% | 1.26% | 0.13% | 2.55% | 1.26% | 0.13% | 3.95% | 0.00% | 0.00% | 0.00% | 0.00% | 2.55% | 1.26% | 0.13% | 3.95% | 100% | 0% | 0.00% | 32.0
Module 3 - INFRASTRUCTURE | INFRASTRUCTURE | Exposure to external threaths | Opening: doors | Doors | + | 3.89% | + | 2.71% | + | 1.44% | 10.00 | 3.89% | 2.71% | 1.44% | 0.00% | 0.00% | 0.00% | 0 | 0 |  | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0% | 100% | 0.00% | 32.0
Module 3 - INFRASTRUCTURE | INFRASTRUCTURE | Exposure to external threaths | Opening exposure | Exposure | + | 1.30% | + | 2.71% | + | 1.44% | 0.66 | 0.00% | 0.00% | 0.00% | 2.35% | 3.62% | 2.05% | 0 | 0 |  | 1.64% | 0.72% | 0.21% | 1.64% | 0.72% | 0.21% | 2.57% | 0.00% | 0.00% | 0.00% | 0.00% | 1.08% | 0.48% | 0.14% | 1.70% | 66% | 34% | 0.87% | 15.0
Module 3 - INFRASTRUCTURE | INFRASTRUCTURE | Exposure to external threaths | Standoff distance | Standoff | + | 2.59% | + | 0.00% | + | 0.00% | 1.00 | 0.00% | 0.00% | 0.00% | 3.64% | 0.91% | 0.61% | 0 | 0 |  | 2.55% | 0.18% | 0.06% | 2.55% | 0.18% | 0.06% | 2.79% | 0.00% | 0.00% | 0.00% | 0.00% | 2.55% | 0.18% | 0.06% | 2.79% | 100% | 0% | 0.00% | 32.0
Module 3 - INFRASTRUCTURE | INFRASTRUCTURE | Exposure to external threaths | Internal fencing | Int_fence | + | 0.00% | + | 1.35% | + | 0.72% | 0.00 | 0.00% | 0.00% | 0.00% | 1.05% | 2.27% | 1.33% | 0 | 0 |  | 0.73% | 0.45% | 0.13% | 0.73% | 0.45% | 0.13% | 1.32% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0% | 100% | 1.32% | 10.0
Module 3 - INFRASTRUCTURE | INFRASTRUCTURE | Internal Circulation | Safety of mouvements | Mouvements | + | 1.48% | - | 1.52% | + | 6.91% | 0.33 | 0.00% | 0.00% | 0.00% | 2.53% | 2.43% | 7.53% | 1 | 0 |  | 1.77% | -0.49% | 0.75% | 1.77% | -0.49% | 0.75% | 2.04% | 0.00% | -0.49% | 0.00% | 0.00% | 0.58% | 0.00% | 0.25% | 0.35% | 17% | 83% | 1.69% | 5.0 | 1.69%
Module 3 - INFRASTRUCTURE | INFRASTRUCTURE | Internal Circulation | Safety of stairways | Stairs | + | 1.48% | + | 0.00% | + | 3.46% | 0.33 | 0.00% | 0.00% | 0.00% | 2.53% | 0.91% | 4.07% | 0 | 0 |  | 1.77% | 0.18% | 0.41% | 1.77% | 0.18% | 0.41% | 2.36% | 0.00% | 0.00% | 0.00% | 0.00% | 0.58% | 0.06% | 0.13% | 0.78% | 33% | 67% | 1.58% | 7.0
Module 3 - INFRASTRUCTURE | INFRASTRUCTURE | Internal Circulation | Safety of elevator system | Elevator | + | 0.74% | + | 0.00% | + | 3.46% | 0.66 | 0.00% | 0.00% | 0.00% | 1.79% | 0.91% | 4.07% | 0 | 0 |  | 1.25% | 0.18% | 0.41% | 1.25% | 0.18% | 0.41% | 1.84% | 0.00% | 0.00% | 0.00% | 0.00% | 0.83% | 0.12% | 0.27% | 1.22% | 66% | 34% | 0.63% | 18.0
Module 3 - INFRASTRUCTURE | INFRASTRUCTURE | Internal Circulation | Evacuation routes | Exits | + | 1.48% | + | 4.57% | + | 3.46% | 0.66 | 0.00% | 0.00% | 0.00% | 2.53% | 5.48% | 4.07% | 0 | 0 |  | 1.77% | 1.10% | 0.41% | 1.77% | 1.10% | 0.41% | 3.27% | 0.00% | 0.00% | 0.00% | 0.00% | 1.17% | 0.72% | 0.27% | 2.16% | 66% | 34% | 1.11% | 12.0
Module 3 - INFRASTRUCTURE | INFRASTRUCTURE | Self-sufficiency | Safety of telecommmunication system | Telecom | + | 3.11% | + | 3.04% | + | 2.16% | 1.00 | 0.00% | 0.00% | 0.00% | 4.16% | 3.96% | 2.77% | 0 | 1 |  | 2.91% | 0.79% | 0.28% | 2.91% | 0.79% | 0.28% | 3.98% | 0.00% | 0.00% | 0.00% | 0.00% | 2.91% | 0.79% | 0.28% | 3.98% | 100% | 0% | 0.00% | 32.0
Module 3 - INFRASTRUCTURE | INFRASTRUCTURE | Self-sufficiency | Safety of water system | Water | + | 2.07% | + | 0.00% | + | 1.08% | 10.00 | 2.07% | 0.00% | 1.08% | 0.00% | 0.00% | 0.00% | 0 | 1 |  | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0% | 100% | 0.00% | 32.0
Module 3 - INFRASTRUCTURE | INFRASTRUCTURE | Self-sufficiency | Safety of electrical system | Electrical | + | 4.15% | + | 0.00% | + | 3.24% | 0.33 | 0.00% | 0.00% | 0.00% | 5.20% | 0.91% | 3.85% | 0 | 1 |  | 3.64% | 0.18% | 0.39% | 3.64% | 0.18% | 0.39% | 4.21% | 0.00% | 0.00% | 0.00% | 0.00% | 1.20% | 0.06% | 0.13% | 1.39% | 33% | 67% | 2.82% | 2.5 | 2.82%
Module 3 - INFRASTRUCTURE | INFRASTRUCTURE | Self-sufficiency | Safe disposal of medical waste | Waste | + | 4.15% | + | 0.00% | + | 3.24% | 0.33 | 0.00% | 0.00% | 0.00% | 5.20% | 0.91% | 3.85% | 0 | 1 |  | 3.64% | 0.18% | 0.39% | 3.64% | 0.18% | 0.39% | 4.21% | 0.00% | 0.00% | 0.00% | 0.00% | 1.20% | 0.06% | 0.13% | 1.39% | 33% | 67% | 2.82% | 2.5 | 2.82%
Module 3 - INFRASTRUCTURE | INFRASTRUCTURE | Self-sufficiency | Safety of sewage disposal | Sewage | + | 1.04% | + | 0.00% | + | 1.08% | 0.00 | 0.00% | 0.00% | 0.00% | 2.09% | 0.91% | 1.69% | 0 | 1 |  | 1.46% | 0.18% | 0.17% | 1.46% | 0.18% | 0.17% | 1.81% | 0.00% | 0.00% | 0.00% | -0.60% | 0.00% | 0.00% | 0.00% | -0.60% | 0% | 100% | 2.42% | 4.0 | 2.42%
Module 3 - INFRASTRUCTURE | INFRASTRUCTURE | Self-sufficiency | Safety of dead body evacuation | Dead | + | 1.04% | + | 0.00% | + | 2.16% | 0.66 | 0.00% | 0.00% | 0.00% | 2.09% | 0.91% | 2.77% | 0 | 1 |  | 1.46% | 0.18% | 0.28% | 1.46% | 0.18% | 0.28% | 1.92% | 0.00% | 0.00% | 0.00% | 0.00% | 0.96% | 0.12% | 0.18% | 1.27% | 66% | 34% | 0.65% | 17.0
[6 empty] | 100.00% |  | 100.00% |  | 100.00% | 34 | 35.69% | 31.03% | 20.88% | 100.00% | 100.00% | 100.00% | [9 empty] | 97.24% | [7 empty] | 66.78% | 69% | 31%
[12 empty] | 1.05% | 0.91% | 0.61% | [13 empty] | Exp (int) | -0.5% | [6 empty] | Preparedness: Overall
[28 empty] | Exposure (ext) | -0.6%
[28 empty] | Vulnerability | 96.6% | [6 empty] | 48% | 52%
[28 empty] | Net Vulnerability | 29.8% | [6 empty] | Preparedness: Bombing
[36 empty] | 14% | 86%
[28 empty] | Hazards: assessed likelihood | [7 empty] | Preparedness: Intrusion
[28 empty] | Bombing | 70.0% | [6 empty] | 6% | 94%
[28 empty] | Intrusion | 20.0% | [6 empty] | Preparedness: MIW
[28 empty] | MIW | 10.0%
[29 empty] | Management |  | Infrastructure
[28 empty] | Preparedness Domain | 80% |  | 60%